## Slide 1: Principles of Radiology Study Design
Chaya S. Moskowitz, Ph.D. Department of Epidemiology & Biostatistics
Thanks to Radiological Society of North America Clinical Trials Methodology Workshop

## Slide 2: Outline
Radiology studies
Developmental stages of imaging technology
Building blocks of imaging studies
Quantitative imaging biomarker studies
Strategies to improve study efficiency

## Slide 3: Examples of Radiology Studies
Diagnostic accuracy studies
  Presence / Extent / Location of disease
Screening studies
Technical development studies
  Safety and feasibility
Multi-reader studies
Subjective vs. objective measurements
  Radiomics
AI
Aerts et al., Nat Comm 2014
Zhang et al., Med Eng & Phys 2025
Jochelson and Lobbes, Radiology 2021

## Slide 4: Developmental Stages of Imaging Technology
Phase I: Discovery
Phase II : Introductory
Phase III: Mature
Phase IV: Disseminated
Technical performance
Diagnostic accuracy
Impact on diagnostic thinking
Diagnostic accuracy
Impact on diagnostic thinking
Impact on therapeutic planning
Effect on health outcomes
Effect on health outcomes
Cost & benefits to society

## Slide 5: Building Blocks of Imaging Studies
Study Objectives
Performing, Interpreting,Measuring Imaging Test(s) & Features
Reference Information
Endpoints
Imaging Study

## Slide 6
Study Objectives

## Slide 7: Study Objectives
Active statement about the specific steps to answer the research question.
Should not re-state the research hypothesis
Should not state investigators’ hope for a statistically significant finding
Endpoint should be clearly stated

## Slide 8: Study Objectives For Radiology Studies
What aspect of performance is being evaluated?
  e.g. precision, accuracy, screening, etc.
Be specific about the endpoint.
  e.g. repeatability coefficient, sensitivity and specificity, mortality, etc.
Specify the population(s) of interest
  Patients AND Readers

## Slide 9
Performing, Interpreting,Measuring Imaging Test(s) & Features

## Slide 10: Performing Imaging Tests
Timing of the imaging tests
  When in patients’ history?
  Sequential vs. cross-over? Wash-out period?
Collecting data from the imaging tests

## Slide 11: Design of Studies Involving Readers
Environment for reader interpretations
  “In the field” vs. “test per se” (Begg and McNeil, 1988)
Selection of readers
  Single reader vs. multi-reader
  Target-reader population?
    Early phase studies, narrow target-reader population
    Late phase studies, broad target-reader population
  Single institution, multi-institution, core-lab

## Slide 12: Design Options for Accuracy Studies of Tests Requiring Reader Interpretation
Options | Convenience | Inter-reader variability | Generalizeable estimate
Single reader | **** |  | 
Consensus reading | ** |  | 
Core-Lab reading | * | *** | **
Multi-Reader study | * | **** | ****

## Slide 13
Reference Information

## Slide 14: Reference Information
Source of information, completely different from the test or tests under evaluation, which tells us the true condition status of the patient

## Slide 15: Reference Standard
Sometimes called “gold standard”
Rarely is it “gold”

## Slide 16: Examples of Reference Standards
Pathology
Surgery
Reference standard expert panel
Another imaging test
Follow-up
You can use multiple, but equally good, reference standards in the same study –
Composite reference standard
Notes: For another imaging test to be a reference standard, it might be a very early phase study (so more like an agreement study) or maybe the other test is an expensive or invasive test.
Give the mammography study as an example of two reference standards.

## Slide 17: What if there is no reference standard?
Some types of studies do not require reference standards
Examples:
  Correlation study: New test results correlate with standard test
  Agreement study: How well do the test results agree
To study accuracy, it’s very important to have a reference standard

## Slide 18
Endpoints

## Slide 19: Endpoints
Measurements required by study objectives
The success of a study, of any phase, depends critically on the choice of a primary endpoint.
Endpoint must:
  Correspond to the study objectives
  Be sensitive to the effect you are measuring
  Be reliably measured
  Be clinically relevant

## Slide 20
 | Technical parameter | Accuracy | Effect on patient care decisions | Patient outcome | Effect on society
Discovery | yes | yes |  |  | 
Introduction |  | yes | yes |  | 
Mature |  | yes | yes | yes | 
Disseminated |  | yes | yes | yes | yes
Choice of Endpoints
Should be appropriate for development phase

## Slide 21: Details Make a Difference!
Consider a study of the accuracy of CT for detecting colon polyps.
Suppose you want to compare accuracy with vs. without knowledge of artificial intelligence-assisted polyp detection (AI)

## Slide 22: Without AI, reader finds a polyp in descending colon

## Slide 23: AI marks 4 suspicious areas

## Slide 24: With AI, reader finds a second polyp. Did AI increase the reader’s accuracy?

## Slide 25: Second example: Without AI, reader finds a FP in the ascending colon but misses the actual polyps

## Slide 26: With AI, reader finds the polyps. Did AI increase the reader’s accuracy?

## Slide 27: How Do You Define a True Positive?
If a patient has disease, is it sufficient to find anything (even a FP)?
Does the reader need to correctly locate the lesion?
Does the reader need to find all lesions?
You need to consider these details when defining study endpoint.

## Slide 28: Order of Building Blocks is Not Fixed
Prospective
Retrospective

## Slide 29: Study Flow
Study Objectives
Identify patients
Performing and Interpreting Imaging Test(s)
Reference Information
Endpoints
Retrospective
Prospective
(reread images)
Based on reference
Done in the past
Notes: Chane title and blocks at same time.

## Slide 30
Two Examples of Diagnostic Accuracy Studies
Prospective design
Retrospective design
Notes: Prospective design Retrospective design

## Slide 31: Prospective study example
Suppose we want to compare abbreviated breast MRI with contract-enhanced mammography…

## Slide 32: Prospective study example
Among women at high risk of breast cancer, to estimate and compare the sensitivity and specificity of abbreviated breast MRI and contrast-enhanced mammography as read by board-certified mammographers.
Study objective

## Slide 33: Prospective study example
Study Objective:
Compare CEM and MRI
Enroll 400 patients at high-risk for breast cancer
Imaging Tests:
Perform CEM and MRI annually for three years

## Slide 34: Breast Imaging Example
Paired design: All patients have both contrast mammogram and MRI
Paired (vs. unpaired) designs
  Control for case-difficulty, eliminate confounding
  Statistically more efficient → smaller sample size
  Pairing ensures that two groups are same
    (Randomization makes two groups similar.)

## Slide 35: Breast Imaging Example
Blinded design:
  Technicians perform MRI without knowledge of mammogram (and vice versa), AND images read by radiologists who haven’t seen competing images.

## Slide 36: Prospective study example
Reference
Information:
Perform biopsy, surgery (if indicated); follow all patients
Study Objective:
Compare CEM and MRI
Enroll 400 patients at high-risk for breast cancer
Imaging Tests:
Perform CEM and MRI annually for three years

## Slide 37: Breast Imaging Example Reference Standard
Composite reference standard
Combination of biopsy results within 365 days of the imaging tests and clinical follow-up at 1 year
  Includes interview with participant and medical record review.

## Slide 38: Prospective study example
Reference
Information:
Perform biopsy, surgery
(if indicated); follow all patients
Study Objective:
Compare CEM and MRI
Enroll 400 patients at high-risk for breast cancer
Imaging Tests:
Perform CEM and MRI annually for three years
Endpoint:
Sensitivity and Specificity

## Slide 39: Breast Imaging Example Reference Standards - Endpoints
Of 400 high-risk patients, only 5 developed cancer over the three-year study.
Unable to reliably estimate sensitivity!
This is one reason why retrospective designs are used often for accuracy studies
Notes: Combination of inexperienced clinical researcher and statistician who believed her.

## Slide 40: Retrospective study example
Imaging Tests:
CT Colonography performed
in the past
Reference Information:
Optical Colonoscopy performed in the past
Study objective:
Estimate and compare accuracy of CTC with and without AI
(Identify 50 patients with and 50 without polyps on OC)
(Dachman et al 2010)

## Slide 41: Retrospective study example
Imaging Tests:
CT Colonography performed
in the past
Reference Information:
Optical Colonoscopy performed in the past
Study objective:
Estimate and compare accuracy of CTC with and without AI
(Identify 50 patients with and 50 without polyps on OC)
(Dachman et al 2010)
Endpoints:
Segment-level AUC
(19 readers interpret images)

## Slide 42: Colon AI CT Study Example Re-Reading Images for Endpoints
Cross-Over Design
19 readers interpreted images in 4 reading sessions:
  Session 1: 50 cases without AI
  Session 2: 50 cases with AI
  One month wash-out
  Session 3: first 50 cases with AI
  Session 4: second 50 cases without AI

## Slide 43: Colon AI CT Study Example: Endpoint Definition
Primary Analysis: (segment-level)
True Positive: reader must correctly locate at least one polyp in segment
(as opposed to defining a true positive by:
reader must correctly locate at least one polyp in patient)
Notes: Adequate sample size and power with just n=100

## Slide 44: Augmenting Retrospective Studies
Augment sample with diseased patients
Increasing prevalence doesn’t cause bias in estimates of sensitivity, specificity, and AUC!

## Slide 45: Enriching Studies
Enrich sample with challenging images.
  Ensures we have a good idea of how the modality works in hard cases.
  In study comparing two modalities, many cases will be obvious, thus easily diagnosed by both modalities. It doesn’t help the study power to have these cases in study.

## Slide 46: Enriching Studies
Enrich sample with challenging images.
  Ensures we have a good idea of how the modality works in hard cases.
  In study comparing two modalities, many cases will be obvious, thus easily diagnosed by both modalities. It doesn’t help the study power to have these cases in study.
Enriching the sample with difficult cases improves study power, but estimates of accuracy will be lower (so need to understand/discuss this in paper).

## Slide 47: Disadvantages of Retrospective Readings:
Reader interpretations may suffer from lab-effect:
  Reading conditions may be substantially different from typical clinical reading
  Behavior of readers may be affected by knowledge that decisions won’t impact patient, and that they are being watched

## Slide 48: What about technical studies of new quantitative imaging biomarkers?

## Slide 49: Quantitative Imaging Biomarkers
Feature or characteristic that is objectively measured from a medical image and is an indicator of a normal biological process, pathogenic process, or response to therapeutic intervention.
Continuous scale
Sullivan et al. Radiology 2015
Illustration generated using ChatGPT, OpenAI, 2026

## Slide 50: Study Endpoints and Metrics
Study endpoints and metrics
  Bias
    Mean differences between measurement and truth
  Precision
    Repeatability, reproducibility

## Slide 51: Precision vs. Bias
Biased but
Precise
Biased and
Not Precise
Unbiased and
Precise
Unbiased,
Not Precise

## Slide 52: Importance of Precision
Potential utility of an imaging biomarker can be greatly impacted by lack of precision
Poor precision can make measured change in biomarker difficult to interpret
Developing precise quantitative imaging biomarkers can be difficult
Acceptable magnitude depends on use
  High precision should be a necessary component of any procedure intended for diagnostic use

## Slide 53: Sources of Bias and Variability
Patient-related
  Disease or treatment-related
  Other biophysiological sources
Imaging system-related
  Scanner-related
  Human element

## Slide 54: Repeatability and Reproducibility
Repeatability: consistency of results when same imaging biomarker is assessed at short intervals on same subjects using same equipment, same reader, in same center
Reproducibility: consistency of results when same imaging biomarker is assessed at short intervals on same subjects using different equipment, different reader, or in different centers

## Slide 55: Study Designs
Bias
  True/reference value and at least one measurement on n subjects
  Usually phantoms are used
  n should be at least 65
Repeatability:
  K repeated measurements (K ≥ 2) on n subjects; n should be at least 35
  Identical conditions
  Test-retest, “coffee-break studies”, intra-observer variability
Reproducibility:
  K methods/readers measure (K ≥ 2) n subjects; n should be at least 35
  Vary component(s) systematically
  Method comparison, inter-observer variability
Obuchowski and Bullen, 2018

## Slide 56: Conclusion
Studies of imaging tests and biomarkers are important, nationally recognized.
Many possible study designs for imaging studies.
Technical performance studies of quantitative imaging biomarkers are very important.
Details of the study design determine its worth.

## Slide 57: References
Pepe MS. The Statistical Evaluation of Medical Tests for Classification and Prediction. Oxford, New York, 2003.
Zhou, X.-H., Obuchowski, N. A. and McClish, D. K. Statistical Methods in Diagnostic Medicine. Wiley, New York, 2002.